## Slide 1
PHASEIIIvg#1
SHIPBOARD
FIRE FIGHTING

## Slide 2: IDENTIFY DIFFERENT CLASSES OF FIRE AND THE PROPER WAY TO EXTINGUISH IT.
PHASEIIIvg#2
TERMINAL LEARNING OBJECTIVE

## Slide 3
ACTION: After this lesson, you will be able to demonstrate knowledge concerning shipboard fire fighting and the nature of fire.
PHASEIIIvg#3

## Slide 4
CONDITIONS: Given FM 55-501 class notes.
STANDARDS: To receive a “GO” for this lesson, you the student must answer all check on learning questions correctly.
PHASEIIIvg#4

## Slide 5: INTRODUCTION TO SHIPBOARD FIRE FIGHTING
B. CHEMISTRY OF FIRE
C. THE FIRE TRIANGLE
D. FUEL AND FUEL CHARACTERISTICS
PHASEIIIvg#5

## Slide 6: CLASSES OF FIRE/EXTENGUISHING AGENTS
A. CLASSES OF FIRE
B. EXTENGUISHING AGENTS
C. TYPES OF EXTENGUISHING AGENTS
PHASEIIIvg#6

## Slide 7: EXTINGUISHING METHOD AND EXTINGUISHING AGENTS
A. FIRE PREVENTION
B. WATER (COOLING AGENT)
C. CARBON DIOXIDE
E. USES OF DRY CHEMICAL
PHASEIIIvg#7

## Slide 8: CONT
F. LIMITATIONS ON THE USE OF DRY CHEMICALS
G. DRY POWDERS
H. HALOGENATED EXTINGUISHING AGENT (HALON)
PHASEIIIvg#8

## Slide 9: PORTABLE FIRE EXTENGUISHERS
A. USING FIRE EXTINGUISHERS
B. FACTS ABOUT PORTABLE FIRE EXTINGUISHERS
C. CLASSIFICATION OF FIRE EXTENGUISHERS
D. TEST AND INSPECTION
E. PORTABLE PUMPS
F. HOSES
G. FIRE HOSES, NOZZLES, AND APPLIANCES
PHASEIIIvg#9

## Slide 10: SELF CONTAINED BREATHING APPARATUS
A. BREATHING APPARATUS
B. OBA
C. SELF-GENERATING (CANITER TYPE) OBA
D. OPERATING CYCLE ( CANISTER-TYPE UNIT)
E. SELF-CONTAINED DEMAND TYPE BREATHING APPARATUS (SCOTT AIR PACK).
F. LIFE LINE SIGNALS.
PHASEIIIvg#10

## Slide 11: SUMMARY
INTRODUCTION TO SHIPBOARD FIRE FIGHTING
CLASSES OF FIRE/EXTENGUISHING AGENTS
EXTINGUISHING METHOD AND EXTINGUISHING AGENTS
PORTABLE FIRE EXTENGUISHERS
SELF CONTAINED BREATHING APPARATUS
PHASEIIIvg#11

## Slide 12: BREAK TIME FOR ALL!!!
PHASEIIIvg#12